Ceiling Speaker TCI-105

Φ145

Φ160

Φ160mm

54mm

| General Specification |  |
| --- | --- |
| Model | TCI-105 |
| Frequency Response | 100-15KHz |
| SPL | 97dB at 100V 3W |
| Sensitivity | 93±3dB |
| Power Handling | 6W |
| Power Taps | 3W/6W |
| Line input | 100V |
| Hole for mounting | Φ145mm |
| Dimension(D*H) | Φ160*54mm |
| Physical Specification |  |
| Material | ABS( adull white) |
| Grille | Powder Coated Aluminum Mesh |
|  | (White ral 9016) |
| Component | 5" |
| Finished Colour | White |
| Unit Weight | 0.45Kg |
| Speaker Specification |  |
| Voice Coil Size | PSV14.28*Φ0.1*2T |
| DC Impedance | 7.2Ω |
| Former | Paper |
| Magnet | Ferrite(105g) |
|  | Φ55*24*10(Y30) |
| Basket | ABS |
| Cone Material | Paper |
| Spider | Cloth |
| Dust cap | Paper Cup |
| Net Weight | 360g |

┐╠Â╚25.400

Page 1

www.TciTech.com.tr